**COP HOA**

**VOLUNTARY SPRINKLER REPAIRS**

1. 12627 W Castle Rock/Risers 4/Bubblers 4/Nov. 2017
2. 12714 Omega Dr/Riser 1/Nov. 2017
3. 12531 Castle Rock Dr/Riser 1/Bubblers/2
4. 12718 Omega Dr/Bubblers 9/Oct. 2017
5. 12715 Castle Rock Dr/Bubblers 2/August 2017
6. 12631 Castle Rock Dr/Riser 1/Nov. 2017
7. 12534 Prospect/Bubbler 1/June 2017
8. 12522 Prospect/Bubbler 1/June 2017
9. 12527 Castle Rock Dr/Bubblers 2/June 2017
10. 12603 Castle Rock Dr/Bubbler 1/Nov. 2017
11. 12623 Castle Rock Dr/Bubbler 1/June 2017
12. 12724 Omega Dr/Bubbler 1/Oct. 2017
13. 12703 Castle Rock Dr/Risers 3/Nov. 2017
14. 12707 Castle Rock Dr/Riser 1/Oct. 2017
15. NW Easement/Bubblers 3/Nov. 2017
16. SE Easement/Bubblers 2/Nov. 2017
17. 12503 Castle Rock Dr/Bubbler 1/Nov. 2017
18. 12622 Prospect/Bubblers/Nov. 2017
19. 12519 Castle Rock Dr/Adjust Riser/Nov.2017
20. 12721 Castle Rock Dr/Clean riser filter and adjust/Nov.2017
21. 12729 Castle Rock Dr/Cap leaking bubbler/Nov.2017
22. 12519 Castle Rock Dr/Replace riser, nipple and adjust/Nov.2017
23. 12503 Castle Rock Dr/Replace nipple and bubbler/Nov.2017
24. 12511 Castle Rock Dr/Cap bubblers in back/Dec. 2017
25. 12706 Omega/Replace and reset riser/Dec. 2017
26. 12618 Prospect/Replace and cap bubblers/Dec. 2017
27. 12614 Prospect/Replace extended nipple and bubbler/Dec. 2017
28. 12519 Castle Rock Dr/Cap bubbler/replace 2 risers/Jan. 2018
29. 12523 Castle Rock Dr/Repair riser/Jan. 2018
30. 12627 Castle Rock Dr/Replace riser/Jan.2018
31. 12531 Castle Rock Dr/Cap 1 bubbler/Jan.2018
32. 12603 Castle Rock Dr/Replace 1 bubbler/Jan. 2018
33. 12510 Prospect/Cap 1 bubbler/Jan.2018
34. 12527 Castle Rock Dr/1 Bubbler/Jan. 18
35. 12531 Castle Rock Dr/1 Bubbler/Jan. 18
36. 12707 Castle Rock Dr/Riser/Jan. 18
37. 2707 Castle Rock Dr/Riser/Jan.18
38. 12502 Prospect/Install new bubbler caps/Jan.18
39. 12631 Castle Rock Dr/1- 4” riser/Mar.18
40. 12603 Castle Rock Dr/ 1 bubbler/Mar.18
41. 12507 Castle Rock Dr/2-4” Risers/Mar.18
42. 12703 Castle Rock Dr/1 Bubbler/Mar.18
43. 12631 Castle Rock Dr/Bubbler/Mar.18
44. 12703 Castle Rock Dr/Risers (2), Bubbler/Apr.18
45. 12606 Prospect/Bubbler/Apr.18
46. 12735 Castle Rock Dr/Cut down half of tree covering the gate/Apr.18
47. 12507 Castle Rock Dr/Adjust risers/Apr.18
48. 12519 Castle Rock Dr/Adjust risers/Apr.18
49. 12627 Castle Rock Dr/Fix one bubbler/Apr.18
50. 12527 Castle Rock Dr/Fix one bubbler, adjust sprinkler spray/Apr.18
51. 12534 Prospect/Fix one bubbler/Apr.18
52. 12627 Castle Rock Dr/Fix 2 sprinklers/Apr.18
53. 12724 Omega/Fix sprinkler/Apr.18
54. 12702 Omega/Multiple repairs to sprinklers and bubblers/Apr.18
55. 12618 Prospect/Adjust and repair multiple bubblers/Apr.18
56. 12614 Prospect/Bubbler/May 18
57. 12702 Omega/Bubblers and sprinkler/May 18

2

1. 12735 Castle Rock Dr/Bubbler/May 18
2. 12631 Castle Rock Dr/Adjust the bubblers/May 18
3. 12527 Castle Rock Dr/Cap a broken bubbler/May 18
4. 12523 Castle Rock Dr/Replace a broken bubbler stem/May 18
5. 12714 Omega/Adjust bubblers in courtyard/May 18
6. 12606 Prospect/Replace bubbler/May 18
7. 12503 Castle Rock Dr/Adjust sprinkler/May 18
8. 12724 Omega/Adjust sprinklers and cap bubblers/May 18
9. 12511 Castle Rock Dr/ Adjust and cap bubblers and sprinklers/May 18
10. 12515 Castle Rock Dr/Adjust bubblers/May 18
11. 12710 Omega/Replace 4 nipples/May 18 JK
12. 12503 Castle Rock Dr/3 nipples/May 18 JK
13. 12515 Castle Rock Dr/2 nipples/May 18 JK
14. 12715 Castle Rock Dr/1 nipple/May 18 JK
15. 12729 Castle Rock Dr/1 nipple/June 18 JK
16. 12503 Castle Rock Dr/Adjust sprinklers/June 18 JK,TS
17. 12619 Castle Rock Dr/Adjust Sprinklers/June 18 JK, TS
18. 12627 Castle Rock Dr/Install PVC line and sprinkler/June 18 RH
19. 12631 Castle Rock Dr/Install new sprinkler head/June 18 TS
20. 12603 Castle Rock Dr/ Repair 1 bubbler/June 18 TS
21. 12710 Omega/Replaced 4 sprinklers, added 3 longer risers/June 18 JK
22. 12714 Omega/Replaced 1 sprinkler, replaced 1 split riser/June 18 JK
23. 12503 Castle Rock Dr/replaced 1 bubbler head/June 18 JK
24. 12619 Castle Rock Dr/replaced 2 sprinklers and 1 riser/June 18/JK
25. 12706 Omega/replaced 5 sprinklers/replaced 3 risers/June 18/JK
26. 12710 Omega/replaced 5 sprinklers/replaced 3 risers/June 18/JK
27. 12506 Prospect/replaced bubbler riser/July 18/JK
28. 12510 Prospect/fixed 2 bubblers/replaced 1 sprinkler head/July 18/JK
29. 12502 Prospect/fixed 4 bubblers/July 18/JK
30. 12627 Castle Rock Dr/Capped 2 bubblers/installed 1 new bubbler head/Aug 18/RH
31. 12721 Castle Rock Dr/Repaired a broken PCV line/Repaired 4 sprinklers/Aug 18/JK, JN
32. 12618 Prospect/Replaced broken bubbler/Aug 18/JK
33. 12627 Castle Rock Dr/Replaced 2 sprinkler heads/Aug 18/RH
34. 12703 Castle Rock Dr/Fixed 4 sprinklers/1 bubbler/Aug 18/TS,JK
35. 12707 Castle Rock Dr/Fixed 2 bubblers/Aug 18/JK, TS
36. 12627 Castle Rock Dr/Fixed 1 sprinkler head/Aug 18/RH
37. 12502 Prospect/Turned off main water supply to stop zone/Aug 18/RH ,JN
38. 12721 Castle Rock Dr/2 risers/Aug 18/JK, TS
39. 12619 Castle Rock Dr/sprinkler/Aug 18/JK, TS
40. 12729 Castle Rock Dr/sprinkler/Aug 18/ JK, TS
41. 12703 Castle Rock Dr/1 sprinkler/Aug 18/JK, TS
42. 12603 Castle Rock Dr/2 sprinklers/Aug 18/JK, TS
43. 12707 Castle Rock Dr/1 bubbler/Aug 18/JK
44. 12703 Castle Rock Dr/3 sprinklers/Aug 18/JK
45. 12711 Castle Rock Dr/2 sprinklers/Aug 18/JK
46. Two referrals to Ray Pena for other more complicated repairs/Aug 18/JK
47. 12602 Castle Rock Dr/2 bubbler risers/Aug 18
48. 12531 Castle Rock Dr/1 broken sprinkler body/Aug 18
49. 12619 Castle Rock Dr/1 cracked bubbler riser/Aug 18
50. 12602 Prospect/1 broken sprinkler body/Aug 18
51. 12611 Castle Rock Dr/1 cracked bubbler riser/Aug 18
52. 12623 Castle Rock Dr/1 cracked bubbler riser/Aug 18
53. 12730 Omega/ 1 cracked bubbler riser/Aug 18
54. 12724 Omega/1 cracked bubbler riser/Aug 18
55. 12738 Omega/capped a broken hose line/Aug 18
56. 12738 Omega/turned down water flow on 5 bubblers/Aug 18
57. 12738 Omega/cracked bubbler riser/Aug 18
58. 12514 Prospect/cracked bubbler riser/Sept 18
59. 12534 Prospect/cracked bubbler riser/Sept 18
60. 12538 Prospect/cracked bubbler riser/replaced bubbler head/Sept 18
61. 12711 Castle Rock Dr/replaced 2 sprinkler heads/Sept 18
62. 12718 Omega/replaced 3 cracked bubbler risers/Sept 18

3

1. 12724 Omega/replaced 4 cracked bubbler risers/Sept 18
2. 12531 Castle Rock Dr/replaced split bubbler riser/Sept 18
3. 12603 Castle Rock Dr/replaced leaking sprinkler/Sept 18
4. Maintenance call to Ray Pena on 12711 zone box leaking/Sept 18
5. 12735 Castle Rock Dr/replaced cracked riser/Sept 18
6. 12522 Prospect/replaced 3 cracked risers/Sept 18
7. 12702 Omega/replaced 2 sprinkler risers/Sept 18
8. 12507 Castle Rock/zone 4 will not shut off/referred to Ray Pena for repair/Sept 18
9. 12730 Omega/replaced 2 bubbler risers/Sept 18
10. 12738 Omega/replaced 5 bubbler risers/replaced 3 sprinklers/replaced 2 bubbler heads/Sept 18
11. 12710 Omega/replaced 2 bubbler risers/Sept 18
12. 12518 Prospect/replaced 1 bubbler riser/Sept 18
13. 12516 Prospect/replaced 1 bubbler riser/Sept 18
14. 12715 Castle Rock/replaced 1 bubbler riser/Sept 18
15. 12614 Prospect/Adjusted 3 sprinkler heads/Sept. 18
16. 12721 Castle Rock/replaced 1 sprinkler/Sept. 18
17. 12534 Prospect/replaced 1 sprinkler/Sept. 18
18. 12527 Castle Rock/replaced 1 bubbler riser/Sept. 18
19. 12526 Prospect/replaced 1 bubbler riser/Sept. 18
20. 12702 Prospect/replaced 1 bubbler riser/Sept. 18
21. 12706 Prospect/replaced 1 bubbler riser/Sept. 18
22. 12711 Castle Rock/replaced sprinklers and prepared line for replacement/Sept 18
23. 12715 Castle Rock/replaced sprinklers and prepared line for replacement/Sept 18
24. 12721 Castle Rock/replaced sprinklers and prepared line for replacement/Sept 18
25. 12503 Castle Rock/replaced bubbler riser/Sept. 18
26. 12627 Castle Rock/repaired 1” sprinkler line/Sept. 18
27. 12703 Castle Rock/repaired cracked riser on a sprinkler/Oct. 18
28. 12538 Prospect/Replaced a bubbler riser/Oct. 18
29. 12510 Prospect/Replaced 1 bubbler riser/Oct. 18
30. 12519 Castle Rock/replaced 1 sprinkler/Oct. 18
31. 12531 Castle Rock/replaced 3 sprinklers behind house/Oct. 18
32. 12514 Prospect/replaced 1 bubbler riser/Oct. 18
33. 12502 Prospect/replaced 2 bubbler risers/Oct. 18
34. 12530 Prospect/replaced 1 new sprinkler/repaired 2 sprinklers/Oct. 18
35. 12531 Castle Rock/replaced 1 new sprinkler/Oct. 18
36. 12718 Omega/replaced 3 new sprinklers/Nov. 18
37. 12630 Prospect/replaced 2 new sprinklers/Nov. 18
38. 12627 Castle Rock/replaced 1 new sprinkler/adjusted another sprinkler/Nov. 18
39. 12715 Castle Rock/replaced 3 sprinklers/Nov. 18
40. 12714 Omega/replaced 2 sprinklers/Nov.18
41. 12711 Castle Rock/repaired 2 sprinkler, 1 riser/Nov. 18
42. 12538 Prospect/repaired and adjusted 4 bubblers/2 sprinklers/Nov. 18
43. 12618 Prospect/adjusted 1 bubbler, adjusted 2 sprinklers/Nov. 18
44. 12507 Castle Rock/replaced 2 broken risers/adjusted 5 bubblers down/Nov. 18
45. 12614 Prospect/replaced 1 broken riser/Nov. 18
46. 12606 Prospect/replaced 1 sprinkler/Nov. 18
47. 12610 Prospect/replaced cracked bubbler/Dec. 18
48. 12627 Castle Rock/replace riser and bubbler head/Mar. 19
49. 12718 Omega/replace cracked riser and bubbler/April 19